## Sheet1
For Goods Offered From Within the Philippines
Contract ID. No.: |  |  | 25GDH0001
Name of Contract: |  |  | Purchase and Delivery of Equipment/Materials/Supplies for Three Storey Building at DPWH Laguna 1st District Engineering Office, Sta. Cruz, Laguna
Location : |  |  | DPWH Laguna 1ˢᵗ District Engineering Office, Sta. Cruz, Laguna
1 | 2 |  |  | 3 | 4 |  | 5 | 6 | 7 | 8 | 9 | 10
Item | Description |  |  | Country of Origin | Quantity |  | Unit Price EXW per item | Transportation and all other costs incidental to delivery, per item | Sales and other taxes payable if Contract if awarded, per item | Cost of incidental Services,If applicable, per item | Total Price, per unit | Total Price delivered Final Destination
[11 empty] | (col.5+6+7+8) | (col 9)x (col 4)
1 |  | 2-Single Swing Door (Seamless) with 12mm Clear |  |  | 2 | set
Tempered Glass Partition Frameless (Conference Room
at Ground and 3rd Floor)
2 |  | Single Swing Door (Seamless) with 12mm Clear |  |  | 4 | set
Tempered Glass Partition Frameless (Office of the DE
and ADE Staff, Technical) and Records Room 3rd
Floor
3 |  | Fixed Glass Door (Seamless) with 12mm Clear Tempered |  |  | 2 | set
Glass Partition Frameless (ADE and DE)
4 |  | 2 Double Swing Door (Seamless) with 12mm Clear Tempered |  |  | 1 | set
Glass Partition Frameless (Lobby 2nd Floor)
5 |  | Double Swing Door (Seamless) with 12mm Clear Tempered |  |  | 1 | set
Glass Partition Frameless (Lobby 3rd Floor)
6 |  | Curtain Glass (Awning Type) |  |  | 90.82 | sq.m.
7 |  | CCTV System |  |  | 1 | lot
3 sets NVR 15 Channel (1080P)
33 pcs. Ourdoor IP Camera 4MP (2.8mm)
2 units 24 Ports Switch POE
6 units CCTV HD 4TB Video Back-up
2 units 55 Inches TV - With Wall Bracket
2 units 2.0 UPS Rackmounted
8 |  | Temporary Power Supply |  |  | 1 | lot
1 set Panel Boards 1 Main and 20 Branches (1 pc - Main
Circuit breaker 100 AT, 30P, 20 pcs - Circuit breaker 20 AT,
1 set Panel Boards 1 Main and 16 Branches (1 pc - Main
Circuit breaker 100 AT, 30P, 16 pcs - Circuit breaker 30 AT,
1 set 200 AT MCB, 3P with NEMA Enclosure
Sub-Total P
Amount Forwarded | bar: 9
400 meters 50 mm2 - THHN Stranded Wire
145 meters 14.0 mm2 - THHN Stranded Wire
45 meters 30mm2 - THHN Stranded Wire
16 meters 2.0mm2 - THHN Stranded Wire (Green)
3.6 rolls Rubber Tape
12 pcs. Secondary Rack (4 layers)
48 pcs. Pin insulation
1 pc. 50mm dia. Entrance Cap
1 pc. 50mm dia. RSC Pipe
1 pc. 50mm dia. RSC Elbow
5 pcs. 50mm dia. Metal Clamp
24 pcs. 10mm dia. Expansion Bolt
4 pcs. 250mm Solderless Connector
8 pcs. 100mm Solderless Connector
3 pcs. 14.0mm Solderless Connector
Total P
| Bid Validity: |  | 120 calendar days |  | Total Amount of Bid:
P
[5 empty] | (in words) |  | 10: (in figure)
Name :
Legal Capacity:
Signature:
Duly Authorized to sign bid for and on behalf of:
Date: