## sheet
BILL OF QUANTITIES
WITH UNIT BID PRICES AND TOTAL BID PRICES
DATE OF BID OPENING: _____________________________
1 | 2 |  | 3 | 4 | 5 | 6
Item No. | Item Description |  | Unit | Quantity | Unit Bid Price (Peso) | Total Bid Price (Peso)
1 | 40mmØ entrance cap |  | pcs | 1
2 | 1” X 3” x 1.2mm Rectangular Tubing |  | pcs | 208
3 | 1” Metal Screw |  | pcs | 1118
4 | 1/8” Blind Rivets |  | pcs | 384
5 | 12” x 1” Plain G.I. Strap |  | pcs | 105
6 | 1200X300MM RECESSED STANDARD OPAL DIFFUSER, WHITE, 72 WATTS |  | set | 20
7 | 12mm dia. Bolts |  | kgs | 28.48
8 | 12mm Ø Sagrod with Nuts and Bolts |  | kgs | 131.9
9 | 150mm thk CHB (Load Bearing) |  | sq.m. | 4799.6
10 | 16mm Ø x 2.4m ground rod w/ connector |  | kgs | 3
11 | 20mmØ connector |  | m | 12
12 | 20mmØ PVC Adaptor |  | m | 5
13 | 20mmØ PVC conduit |  | m | 78
14 | 2-3.5mm2 TWN wire, stranded |  | m | 936
15 | 3” BI Pipe |  | kgs | 45.68
16 | 3-3.5mm2 TWN wire, stranded |  | m | 1404
17 | 4.5mm thk Fiber Cement Board |  | pcs | 104
18 | 6” Ø ROUND DOWNLIGHT LED W/ DRIVER, 9 WATTS, Fixture w/ Circular Base |  | set | 2
19 | Acetylene |  | kgs | 59.19
20 | ALUMINUN GLASS DOOR |  | sq.m. | 30.28
21 | Assorted Common Wire Nails |  | kgs | 364.75
22 | BI Pipe S40 1-1/4”Ø |  | kgs | 10
23 | BI Pipe S40 2”Ø |  | kgs | 51
24 | Blind Rivets |  | pcs | 560
25 | Carrying Channels |  | pcs | 100
26 | Cement |  | bags | 5301
27 | Channel Clip |  | pcs | 1678
28 | Concrete Neutralizer |  | gal | 27.59
29 | Concrete Sealer/Primer |  | gal | 55.17
30 | Deformed Steel Bar |  | kgs | 18901.24
31 | duplex convenience outlet, 360 Watts |  | pcs | 29
32 | Enamel Paint (Metal Epoxy Gray) |  | gal | 16.68
33 | FIXED GLASS WINDOW ON METAL FRAME |  | sq.m. | 12.48
34 | Flat bar 1”x4mm thk |  | kgs | 23
35 | Flexible Hose |  | rolls | 5
36 | Ga.16 Galvanized Tie Wire |  | kgs | 284.04
37 | Glazed Tiles |  | sq.m. | 378.88
38 | Good Lumber |  | bd.ft. | 12488.32
39 | Gravel |  | cu.m. | 496.74
40 | Hanger Bars/Rod |  | pcs | 279
41 | Metal Furring |  | pcs | 316
42 | Oxygen |  | kgs | 118.39
43 | Paint Thinner |  | L | 41.68
44 | Patching Compound |  | gal | 68.96
45 | Plain Bars 16mm (Sway barce with turnbuckle 16mm) |  | kgs | 20
46 | Pre-Painted Gutter/End Flashing GA. 24 |  | m | 60.2
47 | Pre-Painted Metal Sheets (Long Span) |  | sq.m. | 120.11
48 | PVC Clip 20mmØ |  | pcs | 22
49 | Red Oxide Primer |  | gal | 6.67
50 | Reflective Insulation, 10mm thk |  | sq.m. | 221.59
51 | Rivets |  | pcs | 3914
52 | Sand |  | cu.m. | 281.51
53 | Semi Gloss Latex (two coats) |  | gal | 110.33
54 | SLIDING ALUMINUM WINDOW |  | sq.m. | 82.73
55 | Square Bar 12mm x 12mm |  | kgs | 45.31
56 | Structural Steel I Beam (A36) |  | kgs | 162.85
57 | Structural Steel Plates |  | kgs | 308.7
58 | Structural Steel Truss |  | kgs | 3839.16
59 | Tape, bolts & nuts, mica tube, terminal lugs |  | lot | 2
60 | Tekscrew |  | pcs | 1144
61 | three gang switch |  | pcs | 11
62 | Tile Grout |  | kgs | 45.11
63 | utility box, deep type |  | pcs | 14
64 | Wall Angle |  | pcs | 66.54
65 | Welding Rod |  | kgs | 143.33
TOTAL AMOUNT OF BID :
( in words) |  |  |  |  | (in figure)
Bid Validity: _____________________________________ |  |  |  | Name and Signature of Bidder:
Address: _______________
______________________
________________________
Bidders are required to include the cost of all taxes, such as, 100but not limited to: value added tax (VAT),
income tax, local taxes, customs duties, freight, insurance, bank 9charges and other fiscal levies and duties.
These shall be itemized in the bid form and reflected in the detailed estimates.
September 2016 |  | DPWH Procurement Manual Volume IV – Goods and Services