REPUBLIC OF THE PHILIPPINES

DEPARTMENTOFPUBLICWORKSANDHIGHWAYS

South Manila District Engineering Office

Port Area, Manila

BIDDINGDOCUMENTS FOR

CONTRACTID :25GOH0012

CONTRACTNAME: Purchase of Solar Powered Panel Grid Type for the use of South Manila District Engineering Office

CONTRACTLOCATION:  Manila City

Date of Opening of Bids:  July 9, 2025

Issuance of Bidding Documents: June 19, 2025 – July 9, 2025

Sixth Edition

July 2020

Table of Contents

Glossary of Acronyms, Terms, and Abbreviations ………………………….3

Section I. Invitation to Bid……………………………………………………..6

Section II. Instructions to Bidders…………………………………………...7

1.	Scope of Bid ……………………………………………………………………….	10

2.	Funding Information……………………………………………………………….	10

3.	Bidding Requirements …………………………………………………………….	10

4.	Corrupt, Fraudulent, Collusive, and Coercive Practices	10

5.	Eligible Bidders……………………………………………………………………	10

6.	Origin of Goods …………………………………………………………………..	11

7.	Subcontracts ………………………………………………………………………	11

8.	Pre-Bid Conference ……………………………………………………………….	12

9.	Clarification and Amendment of Bidding Documents ……………………………	12

10.	Documents comprising the Bid: Eligibility and Technical Components ………….	12

11.	Documents comprising the Bid: Financial Component …………………………...	12

12.	Bid Prices ………………………………………………………………………….	12

13.	Bid and Payment Currencies ………………………………………………………	13

14.	Bid Security ……………………………………………………………………….	13

15.	Sealing and Marking of Bids ………………………………………………………	14

16.	Deadline for Submission of Bids ………………………………………………….	14

17.	Opening and Preliminary Examination of Bids …………………………………..	14

18.	Domestic Preference ………………………………………………………………	14

19.	Detailed Evaluation and Comparison of Bids …………………………………….	15

20.	Post-Qualification …………………………………………………………………	15

21.	Signing of the Contract ……………………………………………………………	15

Section III. Bid Data Sheet …………………………………………………..16

Section IV. General Conditions of Contract……………………...………..18

1.	Scope of Contract …………………………………………………………………	19

2.	Advance Payment and Terms of Payment ………………………………………..	19

3.	Performance Security …………………………………………………………….	19

4.	Inspection and Tests ………………………………………………………………	19

5.	Warranty ………………………………………………………………………….	20

6.	Liability of the Supplier …………………………………………………………..	20

Section V. Special Conditions of Contract ………………………………….21

Section VI. Schedule of Requirements ……………………………………....26

Section VII. Technical Specifications …………………………………………28

Section VIII. Checklist of Technical and Financial Documents …………..30

# Glossary of Acronyms, Terms, and Abbreviations

ABC –Approved Budget for the Contract.

BAC – Bids and Awards Committee.

Bid – A signed offer or proposal to undertake a contract submitted by a bidder in response to and in consonance with the requirements of the bidding documents. Also referred to as Proposal and Tender. (2016 revised IRR, Section 5[c])

Bidder – Refers to a contractor, manufacturer, supplier, distributor and/or consultant who submits a bid in response to the requirements of the Bidding Documents. (2016 revised IRR, Section 5[d])

Bidding Documents – The documents issued by the Procuring Entity as the bases for bids, furnishing all information necessary for a prospective bidder to prepare a bid for the Goods, Infrastructure Projects, and/or Consulting Services required by the Procuring Entity. (2016 revised IRR, Section 5[e])

BIR – Bureau of Internal Revenue.

BSP – Bangko Sentral ng Pilipinas.

Consulting Services – Refer to services for Infrastructure Projects and other types of projects or activities of the GOP requiring adequate external technical and professional expertise that are beyond the capability and/or capacity of the GOP to undertake such as, but not limited to: (i) advisory and review services; (ii) pre-investment or feasibility studies; (iii) design; (iv) construction supervision; (v) management and related services; and (vi) other technical services or special studies. (2016 revised IRR, Section 5[i])

CDA - Cooperative Development Authority.

Contract – Refers to the agreement entered into between the Procuring Entity and the Supplier or Manufacturer or Distributor or Service Provider for procurement of Goods and Services; Contractor for Procurement of Infrastructure Projects; or Consultant or Consulting Firm for Procurement of Consulting Services; as the case may be,  as recorded in the Contract Form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein.

CIF – Cost Insurance and Freight.

CIP – Carriage and Insurance Paid.

CPI – Consumer Price Index.

DDP – Refers to the quoted price of the Goods, which means “delivered duty paid.”

DTI – Department of Trade and Industry.

EXW – Ex works.

FCA – “Free Carrier” shipping point.

FOB – “Free on Board” shipping point.

Foreign-funded Procurement or Foreign-Assisted Project–Refers to procurement whose funding source is from a foreign government, foreign or international financing institution as specified in the Treaty or International or Executive Agreement. (2016 revised IRR, Section 5[b]).

Framework Agreement – Refers to a written agreement between a procuring entity and a supplier or service provider that identifies the terms and conditions, under which specific purchases, otherwise known as “Call-Offs,” are made for the duration of the agreement. It is in the nature of an option contract between the procuring entity and the bidder(s) granting the procuring entity the option to either place an order for any of the goods or services identified in the Framework Agreement List or not buy at all, within a minimum period of one (1) year to a maximum period of three (3) years. (GPPB Resolution No. 27-2019)

GFI – Government Financial Institution.

GOCC –Government-owned and/or –controlled corporation.

Goods – Refer to all items, supplies, materials and general support services, except Consulting Services and Infrastructure Projects, which may be needed in the transaction of public businesses or in the pursuit of any government undertaking, project or activity, whether in the nature of equipment, furniture, stationery, materials for construction, or personal property of any kind, including non-personal or contractual services such as the repair and maintenance of equipment and furniture, as well as trucking, hauling, janitorial, security, and related or analogous services, as well as procurement of materials and supplies provided by the Procuring Entity for such services. The term “related” or “analogous services” shall include, but is not limited to, lease or purchase of office space, media advertisements, health maintenance services, and other services essential to the operation of the Procuring Entity. (2016 revised IRR, Section 5[r])

GOP – Government of the Philippines.

GPPB  – Government Procurement Policy Board.

INCOTERMS – International Commercial Terms.

Infrastructure Projects – Include the construction, improvement, rehabilitation, demolition, repair, restoration or maintenance of roads and bridges, railways, airports, seaports, communication facilities, civil works components of information technology projects, irrigation, flood control and drainage, water supply, sanitation, sewerage and solid waste management systems, shore protection, energy/power and electrification facilities, national buildings, school buildings, hospital buildings, and other related construction projects of the government. Also referred to as civil works or works. (2016 revised IRR, Section 5[u])

LGUs – Local Government Units.

NFCC – Net Financial Contracting Capacity.

NGA – National Government Agency.

PhilGEPS - Philippine Government Electronic Procurement System.

Procurement Project – refers to a specific or identified procurement covering goods, infrastructure project or consulting services. A Procurement Project shall be described, detailed, and scheduled in the Project Procurement Management Plan prepared by the agency which shall be consolidated in the procuring entity's Annual Procurement Plan. (GPPB Circular No. 06-2019 dated 17 July 2019)

PSA – Philippine Statistics Authority.

SEC – Securities and Exchange Commission.

SLCC – Single Largest Completed Contract.

Supplier – refers to a citizen, or any corporate body or commercial company duly organized and registered under the laws where it is established, habitually established in business and engaged in the manufacture or sale of the merchandise or performance of the general services covered by his bid. (Item 3.8 of GPPB Resolution No. 13-2019, dated 23 May 2019). Supplier as used in these Bidding Documents may likewise refer to a distributor, manufacturer, contractor, or consultant.

UN – United Nations.

# Section I.Invitation to Bid

Invitation to Bid for :

1. Contract ID. No. 			: 25GOH0012

Contract Name	: Purchase of Solar Powered Panel Grid Type for the use of South Manila District Engineering Office

Source of Fund			: EAO CY 2025

Approved Budget for the

Contract (ABC)			: P 20,035,955.00

Purchase Request No.		: 2025-06-151

Delivery Period			: 30 C.D.

Cost of Bidding Documents	: P 25,000.00

2. Contract ID. No. 			: 25GOH0013

Contract Name	: Purchase of Various Materials for use of Repair and Improvement of SMDEO Office

Source of Fund			: EAO CY 2025

Approved Budget for the

Contract (ABC)			: P 5,716,163.10

Purchase Request No.		: 2025-06-152

Delivery Period			: 30 C.D.

Cost of Bidding Documents	: P 10,000.00

3. Contract ID. No. 			: 25GOH0014

Contract Name	: Proposed Purchase of High Speed Multifunction Printing Machine, Heavy Duty Copier, Heavy Duty Multifunction Copier Machine/s and PTZ Camera for South Manila DEO

Source of Fund			: EAO CY 2025

Approved Budget for the

Contract (ABC)			: P 13,700,000.00

Purchase Request No.		: 2025-06-153

Delivery Period			: 30 C.D.

Cost of Bidding Documents  	: P 25,000.00

1. The Department of Public Works and Highways-South Manila District Engineering Office, through the above indicated Source of Funds and year intends to apply the sum of the indicated amounts being the Approved Budget for the Contract (ABC) to payments under the contract for the above indicated contract names/contract ID

numbers. Bids received in excess of the ABC shall be automatically rejected at bid opening.

Invitation to Bid for Contract ID Nos. 25GOH0012, 25GOH0013 & 25GOH0014

2. The Department of Public Works and Highways-South Manila District Engineering Office now invites bids for the above Procurement Project. Delivery of the Goods and Services is required as specified above.  Bidders should have completed, within (5) Five years from the date of submission and receipt of bids, a contract similar to the Project.  The description of an eligible bidder is contained in the Bidding Documents, particularly, in Section II (Instructions to Bidders).

3. Bidding will be conducted through open competitive bidding procedures using a non-discretionary “pass/fail” criterion as specified in the 2016 revised Implementing Rules and Regulations (IRR) of Republic Act (RA) No. 9184.

Bidding is restricted to Filipino citizens/sole proprietorships, partnerships, or organizations with at least sixty percent (60%) interest or outstanding capital stock belonging to citizens of the Philippines, and to citizens or organizations of a country the laws or regulations of which grant similar rights or privileges to Filipino citizens, pursuant to RA No. 5183.

4. Prospective Bidders may obtain further information from Department of Public Works and Highways-South Manila District Engineering Office thru its Bids and Awards Committee and inspect the Bidding Documents at the address given below during 7:00 A.M. – 4:00 P.M.

5. A complete set of Bidding Documents may be acquired by interested Bidders on June 19, 2025 – July 9, 2025 from the given address and website(s) below and upon payment of the applicable fee for the Bidding Documents, pursuant to the latest guidelines issued by the GPPB in the amount stated above. It may also be downloaded free of charge from the website of the Philippine Government Electronic System (PhilGEPS) and the website of the Procuring Entity, provided that bidders shall pay the applicable fee for the Bidding Documents not later than the submission of their bids. The Procuring Entity shall allow the bidder to present its proof of payment for the fees in person.

6. The Department of Public Works and Highways-South Manila District Engineering Office will hold a Pre-Bid Conference on June 27, 2025, 10:00 A.M. at SMDEO Conference Room, and/or through video conferencing or

webcasting via YouTube:  http://youtube.com/@DPWH.SManila_DEO, which shall be open to prospective bidders.

7. Bids must be duly received by the BAC Secretariat through manual submission at the office address indicated below on or before 9:00 A.M. on July 9, 2025.Late bids shall not be accepted.

8. All Bids must be accompanied by a bid security in any of the acceptable forms and in the amount stated in ITB Clause 14.

Invitation to Bid for Contract ID Nos. 25GOH0012, 25GOH0013 & 25GOH0014

9. Bid opening shall be at 10:00 A.M. on July 9, 2025 at the given address below and live-streamed on YouTube: http://youtube.com/@DPWH.SManila_DEO. Bids will be opened in the presence of the bidders’ representatives who choose to attend the activity.

10.The Department of Public Works and Highways-South Manila District Engineering Office reserves the right to reject any and all bids, declare a failure of bidding, or not award the contract at any time prior to contract award in accordance with Sections 35.6 and 41 of the 2016 revised IRR of RA No. 9184, without thereby incurring any liability to the affected bidder or bidders.

11. For further information, please refer to:

MARIFE M. JABON

Head, Procurement Unit

09055581558

Email Add. : jabon.marife@dpwh,gov,ph

AUREALITA N. CABRERA

BAC Chairperson

304-3969/0917-326-1062

Email address: cabrera.aurealita@dpwh.gov.ph

12. You may visit the following websites:

For downloadingof BiddingDocuments:DPWH Website:www.dpwh.gov.ph

PhilGeps Website:www.philgeps.gov.ph

Date of Posting: June 19, 2025

AUREALITA N. CABRERA

BAC Chairperson

Noted:

MANNY B. BULUSAN

District Engineer

NCR.9 aia/MMJ/ANC

# Section II. Instructions to Bidders

## Instructions to Bidders

## Scope of Bid

The Procuring Entity, Department of Public Works and Highways-South Manila District Engineering Office wishes to receive Bids for the Purchase of Solar Powered Panel Grid Type for the use of South Manila District Engineering Office with identification number/Contract ID. No.25GOH0012.

## Funding Information

The GOP through the source of funding as indicated below for EAO 2025 in the amount of ₱ 20,035,955.00.

- The source of funding is:

- NGA, the General Appropriations Act or Special Appropriations.

## Bidding Requirements

The Bidding for the Project shall be governed by all the provisions of RA No. 9184 and its 2016 revised IRR, including its Generic Procurement Manuals and associated policies, rules and regulations as the primary source thereof, while the herein clauses shall serve as the secondary source thereof.

Any amendments made to the IRR and other GPPB issuances shall be applicable only to the ongoing posting, advertisement, or IB  by the BAC through the issuance of a supplemental or bid bulletin.

## The Bidder, by the act of submitting its Bid, shall be deemed to have verified and accepted the general requirements of this Project, including other factors that may affect the cost, duration and execution or implementation of the contract, project, or work and examine all instructions, forms, terms, and project requirements in the Bidding Documents.

## Corrupt, Fraudulent, Collusive, and Coercive Practices

The Procuring Entity, as well as the Bidders and Suppliers, shall observe the highest standard of ethics during the procurement and execution of the contract.  They or through an agent shall not engage in corrupt, fraudulent, collusive, coercive, and obstructive practices defined under Annex “I” of the 2016 revised IRR of RA No. 9184 or other integrity violations in competing for the Project.

## Eligible Bidders

5.1.	Only Bids of Bidders found to be legally, technically, and financially capable will be evaluated.

5.2.	Foreign ownership exceeding those allowed under the rules may participate pursuant to:

    - When a Treaty or International or Executive Agreement as provided in Section 4 of the RA No. 9184 and its 2016 revised IRR allow foreign bidders to participate;

    - Citizens, corporations, or associations of a country, included in the list issued by the GPPB, the laws or regulations of which grant reciprocal rights or privileges to citizens, corporations, or associations of the Philippines;

    - When the Goods sought to be procured are not available from local suppliers; or

    - When there is a need to prevent situations that defeat competition or restrain trade.

5.3.	Pursuant to Section 23.4.1.3 of the 2016 revised IRR of RA No.9184, the Bidder shall have an SLCC that is at least one (1) contract similar to the Project the value of which, adjusted to current prices using the PSA’s CPI, must be at least equivalent to:

- For the procurement of Non-expendable Supplies and Services: The Bidder must have completed a single contract that is similar to this Project, equivalent to at least fifty percent (50%) of the ABC.

- For the procurement of Expendable Supplies: The Bidder must have completed a single contract that is similar to this Project, equivalent to at least twenty-five percent (25%) of the ABC.

5.4.	The Bidders shall comply with the eligibility criteria under Section 23.4.1 of the 2016 IRR of RA No. 9184.

## Origin of Goods

There is no restriction on the origin of goods other than those prohibited by a decision of the UN Security Council taken under Chapter VII of the Charter of the UN, subject to Domestic Preference requirements under ITB Clause 18.

## Subcontracts

    - The Bidder may subcontract portions of the Project to the extent allowed by the Procuring Entity as stated herein, but in no case more than twenty percent (20%) of the Project.

The Procuring Entity has prescribed that:

      - Subcontracting is not allowed.

## Pre-Bid Conference

The Procuring Entity will hold a pre-bid conference for this Project on the specified date and time and either at its physical address stated in the Invitation to Bid (IB)  and/or through videoconferencing/webcasting} as indicated in paragraph 6 of the IB.

## Clarification and Amendment of Bidding Documents

Prospective bidders may request for clarification on and/or interpretation of any part of the Bidding Documents.  Such requests must be in writing and received by the Procuring Entity, either at its given address or through electronic mail indicated in the IB, at least ten (10) calendar days before the deadline set for the submission and receipt of Bids.

## Documents comprising the Bid: Eligibility and Technical Components

    - The  first envelope shall contain the eligibility and technical documents of the Bid as specified in Section VIII (Checklist of Technical and Financial Documents).

    - The Bidder’s SLCC as indicated in ITB Clause5.3 should have been completed within [state relevant period as provided in paragraph 2 of the IB] prior to the deadline for the submission and receipt of bids.

    - If the eligibility requirements or statements, the bids, and all other documents for submission to the BAC are in foreign language other than English, it must be accompanied by a translation in English, which shall be authenticated by the appropriate Philippine foreign service establishment, post, or the equivalent office having jurisdiction over the foreign bidder’s affairs in the Philippines. Similar to the required authentication above, for Contracting Parties to the Apostille Convention, only the translated documents shall be authenticated through an apostille pursuant to GPPB Resolution No. 13-2019 dated 23 May 2019. The English translation shall govern, for purposes of interpretation of the bid.

## Documents comprising the Bid: Financial Component

  - The  second bid envelope shall contain the financial documents for the Bid as specified in Section VIII (Checklist of Technical and Financial Documents).

  - If the Bidder claims preference as a Domestic Bidder or Domestic Entity, a certification issued by DTI shall be provided by the Bidder in accordance with Section 43.1.3 of the 2016 revised IRR of RA No. 9184.

  - Any bid exceeding the ABC indicated in paragraph 1 of the IB shall not be accepted.

## Bid Prices

12.1.	Prices indicated on the Price Schedule shall be entered separately in the following manner:

      - For Goods offered from within the Procuring Entity’s country:

- The price of the Goods quoted EXW (ex-works, ex-factory, ex-warehouse, ex-showroom, or off-the-shelf, as applicable);

- The cost of all customs duties and sales and other taxes already paid or payable;

- The cost of transportation, insurance, and other costs incidental to delivery of the Goods to their final destination; and

- The price of other (incidental) services, if any, listed in e.

      - For Goods offered from abroad:

- Unless otherwise stated in the BDS, the price of the Goods shall be quoted delivered duty paid (DDP) with the place of destination in the Philippines as specified in the BDS.  In quoting the price, the Bidder shall be free to use transportation through carriers registered in any eligible country.  Similarly, the Bidder may obtain insurance services from any eligible source country.

- The price of other (incidental) services, if any, as listed in Section VII (Technical Specifications).

## Bid and Payment Currencies

    - For Goods that the Bidder will supply from outside the Philippines, the bid prices may be quoted in the local currency or tradeable currency accepted by the BSP at the discretion of the Bidder.  However, for purposes of bid evaluation, Bids denominated in foreign currencies, shall be converted to Philippine currency based on the exchange rate as published in the BSP reference rate bulletin on the day of the bid opening.

    - Payment of the contract price shall be made in:

      - Philippine Pesos.

## Bid Security

  - The Bidder shall submit a Bid Securing Declaration or any form of Bid Security in the amount indicated in the BDS, which shall be not less than the percentage of the ABC in accordance with the schedule in the BDS.

  - The Bid and bid security shall be valid for One Hundred Twenty (120) calendar days from the date of the opening of Bids.  Any Bid not accompanied by an acceptable bid security shall be rejected by the Procuring Entity as non-responsive.

## Sealing and Marking of Bids

Each Bidder shall submit one copy of the first and second components of its Bid.

The Procuring Entity may request additional hard copies and/or electronic copies of the Bid. However, failure of the Bidders to comply with the said request shall not be a ground for disqualification.

If the Procuring Entity allows the submission of bids through online submission or any other electronic means, the Bidder shall submit an electronic copy of its Bid, which must be digitally signed. An electronic copy that cannot be opened or is corrupted shall be considered non-responsive and, thus, automatically disqualified.

## Deadline for Submission of Bids

16.1.	The Bidders shall submit on the specified date and time and either at its physical address or through online submission as indicated in paragraph 7 of the IB.

## Opening and Preliminary Examination of Bids

  - The BAC shall open the Bids in public at the time, on the date, and at the place specified in paragraph 9 of the IB. The Bidders’ representatives who are present shall sign a register evidencing their attendance.   In case videoconferencing, webcasting or other similar technologies will be used, attendance of participants shall likewise be recorded by the BAC Secretariat.

In case the Bids cannot be opened as scheduled due to justifiable reasons, the rescheduling requirements under Section 29 of the 2016 revised IRR of RA No. 9184 shall prevail.

  - The preliminary examination of bids shall be governed by Section 30 of the 2016 revised IRR of RA No. 9184.

## Domestic Preference

18.1.	The Procuring Entity will grant a margin of preference for the purpose of comparison of Bids in accordance with Section 43.1.2 of the 2016 revised IRR of RA No. 9184.

## Detailed Evaluation and Comparison of Bids

  - The Procuring BAC shall immediately conduct a detailed evaluation of all Bids rated “passed,” using non-discretionary pass/fail criteria.  The BAC shall consider the conditions in the evaluation of Bids under Section 32.2 of the 2016 revised IRR of RA No. 9184.

  - If the Project allows partial bids,  bidders may submit a proposal on any of the lots or items,  and evaluation will be undertaken on a per lot  or item basis, as the case maybe. In this case, the Bid Security as required by ITB Clause 15 shall be submitted for each  lot or item separately.

  - The descriptions of the lots or items shall be indicated in Section VII (Technical Specifications), although the ABCs of these lots or items are indicated in the BDS  for purposes of the NFCC computation pursuant to Section 23.4.2.6 of the 2016 revised IRR of RA No. 9184.  The NFCC must be sufficient for the total of the ABCs for  all the lots or items participated in by the prospective Bidder.

  - The Project  shall be awarded as one contract.

  - Except for bidders submitting a committed Line of Credit from a Universal or Commercial Bank in lieu of its NFCC computation, all Bids must include the NFCC computation pursuant to Section 23.4.1.4 of the 2016 revised IRR of RA No. 9184, which must be sufficient for the total of the ABCs for  all the lots or items participated in by the prospective Bidder. For bidders submitting the committed Line of Credit, it must be at least equal to ten percent (10%) of the ABCs for all the lots or items participated in by the prospective Bidder.

## Post-Qualification

20.1.	Within a non-extendible period of five (5) calendar days from receipt by the Bidder of the notice from the BAC that it submitted the Lowest Calculated Bid, the Bidder shall submit its latest income and business tax returns filed and paid through the BIR Electronic Filing and Payment System (eFPS) and other appropriate licenses and permits required by law and stated in the BDS.

## Signing of the Contract

21.1.	The documents required in Section 37.2 of the 2016 revised IRR of RA No. 9184 shall form part of the Contract. Additional Contract documents are indicated in the BDS.

# Section III. Bid Data Sheet

Bid Data Sheet

| ITB Clause |  |
| --- | --- |
| 5.3 | For this purpose, contracts similar to the Project shall be: - Purchase of Solar Powered Panel Grid Type for the use of South Manila District Engineering Office b. The Bidder must have completed, within five (5) years from the date of submission and receipt of Bids, a single contract that is similar to this project, equivalent to at least Twenty Five percent (25%) of the ABC. |
|  | Sub-contracting is not allowed. |
| 12 | No further instructions. |
| 14.1 | The bid security shall be in the form of a Bid Securing Declaration, or any of the following forms and amounts: |
|  | - The amount of not less than two percent (2%) of ABC, if bid security is in cash, cashier’s/manager’s check, bank draft/guarantee or irrevocable letter of credit; or |
|  | - The amount of not less than five percent (5%) of ABCif bid security is in Surety Bond. |
| 19.3 | No further instruction. |
| 20.2 | Not applicable. |
| 21.2 | Not applicable. |

# Section IV. General Conditions of Contract

## Section IV. General Conditions of Contract

## Scope of Contract

This Contract shall include all such items, although not specifically mentioned, that can be reasonably inferred as being required for its completion as if such items were expressly mentioned herein. All  the provisions of RA No. 9184 and its 2016 revised IRR, including the Generic Procurement Manual, and associated issuances, constitute the primary source for the terms and conditions of the Contract, and thus, applicable in contract implementation.  Herein clauses shall serve as  the secondary source for the terms and conditions of the Contract.

This is without prejudice to Sections 74.1 and 74.2 of the 2016 revised IRR of RA No. 9184 allowing the GPPB to amend the IRR, which shall be applied to all procurement activities, the advertisement, posting, or invitation of which were issued after the effectivity of the said amendment.

Additional requirements for the completion of this Contract shall be provided in the Special Conditions of Contract (SCC).

## Advance Payment and Terms of Payment

  - Advance payment of the contract amount is provided under Annex “D” of the revised 2016 IRR of RA No. 9184.

  - The Procuring Entity is allowed to determine the terms of payment on the partial or staggered delivery of the Goods procured, provided such partial payment shall correspond to the value of the goods delivered and accepted in accordance with prevailing accounting and auditing rules and regulations.  The terms of payment are indicated in the SCC.

## Performance Security

Within ten (10) calendar days from receipt of the Notice of Award by the Bidder from the Procuring Entity but in no case later than  prior to the signing of the Contract by both parties, the successful Bidder shall furnish the performance security in any of the forms prescribed in Section 39 of the 2016 revised IRR of RA No. 9184.

## Inspection and Tests

The Procuring Entity or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Project specifications at no extra cost to the Procuring Entity in accordance with the Generic Procurement Manual.  In addition to tests in the SCC, Section IV (Technical Specifications) shall specify what inspections and/or tests the Procuring Entity requires, and where they are to be conducted.  The Procuring Entity shall notify the Supplier in writing, in a timely manner, of the identity of any representatives retained for these purposes.

All reasonable facilities and assistance for the inspection and testing of Goods, including access to drawings and production data, shall be provided by the Supplier to the authorized inspectors at no charge to the Procuring Entity.

## Warranty

  - In order to assure that manufacturing defects shall be corrected by the Supplier, a warranty shall be required from the Supplier as provided under Section 62.1 of the 2016 revised IRR of RA No. 9184.

  - The Procuring Entity shall promptly notify the Supplier in writing of any claims arising under this warranty.  Upon receipt of such notice, the Supplier shall, repair or replace the defective Goods or parts thereof without cost to the Procuring Entity, pursuant to the Generic Procurement Manual.

## Liability of the Supplier

The Supplier’s liability under this Contract shall be as provided by the laws of the Republic of the Philippines.

If the Supplier is a joint venture, all partners to the joint venture shall be jointly and severally liable to the Procuring Entity.

# Section V. Special Conditions of Contract

Special Conditions of Contract

| GCC Clause |  |
| --- | --- |
| 1 | Delivery and Documents For purposes of the Contract, “EXW,” “FOB,” “FCA,” “CIF,” “CIP,” “DDP” and other trade terms used to describe the obligations of the parties shall have the meanings assigned to them by the current edition of INCOTERMS published by the International Chamber of Commerce, Paris. The Delivery terms of this Contract shall be as follows: “The delivery terms applicable to the Contract are DDP delivered [indicate place of destination]. In accordance with INCOTERMS.” “The delivery terms applicable to this Contract are delivered [indicate place of destination]. Risk and title will pass from the Supplier to the Procuring Entity upon receipt and final acceptance of the Goods at their final destination.” Delivery of the Goods shall be made by the Supplier in accordance with the terms specified in Section VI (Schedule of Requirements). Incidental Services The Supplier is required to provide all of the following services, includingadditional services, if any, specified in Section VI. Schedule of Requirements: a. performance or supervision of on-site assembly and/or start-up of the supplied Goods; b. furnishing of tools required for assembly and/or maintenance of the supplied Goods; c. furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied Goods; d. performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and e. training of the Procuring Entity’s personnel, at the Supplier’s plant and/or on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied Goods. The Contract price for the Goods shall include the prices charged by the Supplier for incidental services and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services. |
|  | Spare Parts The Supplier is required to provide all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the Supplier: - such spare parts as the Procuring Entity may elect to purchase from the Supplier, provided that this election shall not relieve the Supplier of any warranty obligations under this Contract; and - in the event of termination of production of the spare parts: - advance notification to the Procuring Entity of the pending termination, in sufficient time to permit the Procuring Entity to procure needed requirements; and - following such termination, furnishing at no cost to the Procuring Entity, the blueprints, drawings, and specifications of the spare parts, if requested. The spare parts and other components required are listed in Section VI (Schedule of Requirements) and the cost thereof are included in the contract price. The Supplier shall carry sufficient inventories to assure ex-stock supply of consumable spare parts or components for the Goods for a period of [indicate here the time period specified. If not used indicate a time period of three times the warranty period]. Spare parts or components shall be supplied as promptly as possible, but in any case, within [insert appropriate time period] months of placing the order. Packaging The Supplier shall provide such packaging of the Goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in this Contract. The packaging shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage. Packaging case size and weights shall take into consideration, where appropriate, the remoteness of the Goods’ final destination and the absence of heavy handling facilities at all points in transit. The packaging, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified below, and in any subsequent instructions ordered by the Procuring Entity. |
|  | The outer packaging must be clearly marked on at least four (4) sides as follows: Name of the Procuring Entity Name of the Supplier Contract Description Final Destination Gross weight Any special lifting instructions Any special handling instruction Any relevant HAZCHEM classifications A packaging list identifying the contents and quantities of the package is to be placed on an accessible point of the outer packaging if practical.If not practical the packaging list is to be placed inside the outer packaging but outside the secondary packaging. Transportation Where the Supplier is required under Contract to deliver the Goods CIF, CIP, or DDP, transport of the Goods to the port of destination or such other named place of destination in the Philippines, as shall be specified in this Contract, shall be arranged and paid for by the Supplier, and the cost thereof shall be included in the Contract Price. Where the Supplier is required under this Contract to transport the Goods to a specified place of destination within the Philippines, defined as the Project Site, transport to such place of destination in the Philippines, including insurance and storage, as shall be specified in this Contract, shall be arranged by the Supplier, and related costs shall be included in the contract price. Where the Supplier is required under Contract to deliver the Goods CIF, CIP or DDP, Goods are to be transported on carriers of Philippine registry. In the event that no carrier of Philippine registry is available, Goods may be shipped by a carrier which is not of Philippine registry provided that the Supplier obtains and presents to the Procuring Entity certification to this effect from the nearest Philippine consulate to the port of dispatch. In the event that carriers of Philippine registry are available but their schedule delays the Supplier in its performance of this Contract the period from when the Goods were first ready for shipment and the actual date of shipment the period of delay will be considered force majeure. The Procuring Entity accepts no liability for the damage of Goods during transit other than those prescribed by INCOTERMS for DDP deliveries. In the case of Goods supplied from within the Philippines or supplied by domestic Suppliers risk and title will not be deemed to have passed to the Procuring Entity until their receipt and final acceptance at the final destination. Intellectual Property Rights The Supplier shall indemnify the Procuring Entity against all third-party claims of infringement of patent, trademark, or industrial design rights arising from use of the Goods or any part thereof. |
| 2.2 | Partial Payment is not allowed. |
| 4 | The inspection and tests that will be conducted are: Regular inspection during delivery of goods. |

# Section VI. Schedule of Requirements

DEPARTMENT OF PUBLIC WORKS AND HIGHWAYS

DATE OF SUBMISSION/OPENING OF BIDS: July 9, 2025

CONTRACT ID. NO. 	: 25GOH0012

PROJECT              	: Purchase of Solar Powered Panel Grid Type for the use of South Manila

District Engineering Office	_________________________________

PR No. 	: 2025-06-151						______

BIDDER	: __________________________________________________________

APPROVED BUDGET FOR THE CONTRACT (ABC):  ₱ 20,035,955.00

The delivery schedule expressed as weeks/months stipulates hereafter a delivery date which is the date of delivery to the project site.

| Item Number | Description | Quantity | Total | Delivered, Weeks/Months |
| --- | --- | --- | --- | --- |
|  | INVERTER |  |  |  |
| Spl-1 | 75 KW Grid Tie Inverter | 3 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-2 | 50 KW Grid Tie Inverter | 2 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
|  | EXPORT POWER CONTROL |  |  |  |
| Spl-3 | EPM Export Control | 1 pc |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-4 | EPM Export Control | 1 pc |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
|  | PANEL AND RAILINGS |  |  |  |
| Spl-5 | Mono Crystaline 580 Watts MOBO Panel | 518 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-6 | L-Foot | 2,327 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-7 | Mid Clamp | 1,484 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-8 | End Clamp | 297 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-9 | Rail Splice | 650 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-10 | Rail Ground | 450 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-11 | PV Railings | 780 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-12 | MC4 Connectors with Pin | 900 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
|  | SYSTEM PROTECTOR |  |  |  |
| Spl-13 | DC MCCB 1000V 4 Poles | 53 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-14 | DC Surge Protection Devices 1000V | 53 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-15 | 3 Phase 200A 25KAIC MCCB Breaker with Enclosure | 5 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-16 | AC Surge Protection Device 1 Pole | 5 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-17 | PG 16 Cable Gland | 120 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-18 | Metal Enclosure | 6 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-19 | PV Combiner Box | 6 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-20 | Cable Tray | 225 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-21 | Tox Tex Screw Flat Head #5 | 3000 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-22 | Shrinkage Tubes 10mm | 100 packs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-23 | Shrinkage Tubes 16mm | 100 packs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-24 | Cable Tie 7.6x400mm | 600 packs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
|  | WING MATERIALS CONSUMABLE |  |  |  |
| Spl-25 | PV Cable 4.0mm Twin Core | 110 rolls |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-26 | HDPE Pipe UV Rated | 53 rolls |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-27 | ACC Cable 80mm Square | 225 meters |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-28 | 100mm THHN Cable | 1,235 meters |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-29 | 100 Lugs | 84 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-30 | Main Breaker 600A 3-Branches 200A | 1 set |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-31 | Main Breaker 400A 2-Branches 150A | 1 set |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-32 | RSC Pipe with Entrance Cup 2'' | 4 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-33 | 600A 3 Phase Breaker with Box NEMA 3R | 1 set |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-34 | 400A 3 Phase Breaker with Box NEMA 3R | 1 set |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-35 | C Clamp 3/4'' | 400 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-36 | 30mm Square THHN | 1,000 meters |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |
| Spl-37 | 3 Phase Meter Base for Net Metering | 2 pcs |  | Thirty(30) calendar daysupon receipt of Notice to Proceed. |

# Section VII. Technical Specifications

DEPARTMENT OF PUBLIC WORKS AND HIGHWAYS

DATE OF SUBMISSION/OPENING OF BIDS: July 9, 2025

CONTRACT ID. NO. 	: 25GOH0012

PROJECT              	: Purchase of Solar Powered Panel Grid Type for the use of South Manila

District Engineering Office	_________________________________

PR No. 	: 2025-06-151						______

BIDDER	: __________________________________________________________

APPROVED BUDGET FOR THE CONTRACT (ABC):  ₱ 20,035,955.00

| Item | Specification | Statement of Compliance |
| --- | --- | --- |
|  | INVERTER |  |
| Spl-1 | 75 KW Grid Tie Inverter |  |
| Spl-2 | 50 KW Grid Tie Inverter |  |
|  | EXPORT POWER CONTROL |  |
| Spl-3 | EPM Export Control |  |
| Spl-4 | EPM Export Control |  |
|  | PANEL AND RAILINGS |  |
| Spl-5 | Mono Crystaline 580 Watts MOBO Panel |  |
| Spl-6 | L-Foot |  |
| Spl-7 | Mid Clamp |  |
| Spl-8 | End Clamp |  |
| Spl-9 | Rail Splice |  |
| Spl-10 | Rail Ground |  |
| Spl-11 | PV Railings |  |
| Spl-12 | MC4 Connectors with Pin |  |
|  | SYSTEM PROTECTOR |  |
| Spl-13 | DC MCCB 1000V 4 Poles |  |
| Spl-14 | DC Surge Protection Devices 1000V |  |
| Spl-15 | 3 Phase 200A 25KAIC MCCB Breaker with Enclosure |  |
| Spl-16 | AC Surge Protection Device 1 Pole |  |
| Spl-17 | PG 16 Cable Gland |  |
| Spl-18 | Metal Enclosure |  |
| Spl-19 | PV Combiner Box |  |
| Spl-20 | Cable Tray |  |
| Spl-21 | Tox Tex Screw Flat Head #5 |  |
| Spl-22 | Shrinkage Tubes 10mm |  |
| Spl-23 | Shrinkage Tubes 16mm |  |
| Spl-24 | Cable Tie 7.6x400mm |  |
|  | WING MATERIALS CONSUMABLE |  |
| Spl-25 | PV Cable 4.0mm Twin Core |  |
| Spl-26 | HDPE Pipe UV Rated |  |
| Spl-27 | ACC Cable 80mm Square |  |
| Spl-28 | 100mm THHN Cable |  |
| Spl-29 | 100 Lugs |  |
| Spl-30 | Main Breaker 600A 3-Branches 200A |  |
| Spl-31 | Main Breaker 400A 2-Branches 150A |  |
| Spl-32 | RSC Pipe with Entrance Cup 2'' |  |
| Spl-33 | 600A 3 Phase Breaker with Box NEMA 3R |  |
| Spl-34 | 400A 3 Phase Breaker with Box NEMA 3R |  |
| Spl-35 | C Clamp 3/4'' |  |
| Spl-36 | 30mm Square THHN |  |
| Spl-37 | 3 Phase Meter Base for Net Metering |  |

Note :

Statement of Compliance - [Bidders must state here either “Comply” or “Not Comply” against each of the individual parameters of each Specification stating the corresponding performance parameter of the equipment offered. Statements of “Comply” or “Not Comply” must be supported by evidence in a Bidders Bid and cross-referenced to that evidence.  Evidence shall be in the form of manufacturer’s un-amended sales literature, unconditional statements of specification and compliance issued by the manufacturer, samples, independent test data etc., as appropriate. A statement that is not supported by evidence or is subsequently found to be contradicted by the evidence presented will render the Bid under evaluation liable for rejection.  A statement either in the Bidder's statement of compliance or the supporting evidence that is found to be false either during Bid evaluation, post-qualification or the execution of the Contract may be regarded as fraudulent and render the Bidder or supplier liable for prosecution subject to the applicable laws and issuances.]

# Section VIII.

# Checklist of Technical and Financial Documents

DEPARTMENT OF PUBLIC WORKS AND HIGHWAYS

DATE OF SUBMISSION/OPENING OF BIDS: July 9, 2025

CONTRACT ID. NO. 	: 25GOH0012

PROJECT              	: Purchase of Solar Powered Panel Grid Type for the use of South Manila

District Engineering Office	_________________________________

PR No. 	: 2025-06-151						______

BIDDER	: __________________________________________________________

APPROVED BUDGET FOR THE CONTRACT (ABC):  ₱ 20,035,955.00

BIDFORM(FINANCIALPROPOSAL)

PRICESCHEDULEFORGOODSOFFERED

Date of Bid Opening :July 9, 2025

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
| Item No. | Description | ABC | Quantity | UnitCost (Peso) | Total Cost (Peso) | Delivery Schedule |
|  | INVERTER |  |  |  |  |  |
| Spl-1 | 75 KW Grid Tie Inverter | P 1,185,000.00 | 3 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-2 | 50 KW Grid Tie Inverter | P 690,000.00 | 2 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
|  | EXPORT POWER CONTROL |  |  |  |  |  |
| Spl-3 | EPM Export Control | P 60,000.00 | 1 pc |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-4 | EPM Export Control | P 45,000.00 | 1 pc |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
|  | PANEL AND RAILINGS |  |  |  |  |  |
| Spl-5 | Mono Crystaline 580 Watts MOBO Panel | P 5,102,300.00 | 518 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-6 | L-Foot | P 244,335.00 | 2,327 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-7 | Mid Clamp | P 140,980.00 | 1,484 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-8 | End Clamp | P 28,215.00 | 297 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-9 | Rail Splice | P 61,750.00 | 650 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-10 | Rail Ground | P 42,750.00 | 450 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-11 | PV Railings | P 760,500.00 | 780 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-12 | MC4 Connectors with Pin | P 162,000.00 | 900 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
|  | SYSTEM PROTECTOR |  |  |  |  |  |
| Spl-13 | DC MCCB 1000V 4 Poles | P 71,550.00 | 53 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-14 | DC Surge Protection Devices 1000V | P 172,250.00 | 53 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-15 | 3 Phase 200A 25KAIC MCCB Breaker with Enclosure | P 625,000.00 | 5 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-16 | AC Surge Protection Device 1 Pole | P 19,750.00 | 5 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-17 | PG 16 Cable Gland | P 12,600.00 | 120 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-18 | Metal Enclosure | P 27,000.00 | 6 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-19 | PV Combiner Box | P 27,000.00 | 6 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-20 | Cable Tray | P 3,375,000.00 | 225 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-21 | Tox Tex Screw Flat Head #5 | P 31,500.00 | 3000 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-22 | Shrinkage Tubes 10mm | P 10,000.00 | 100 packs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-23 | Shrinkage Tubes 16mm | P 10,000.00 | 100 packs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-24 | Cable Tie 7.6x400mm | P 210,000.00 | 600 packs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
|  | WING MATERIALS CONSUMABLE |  |  |  |  |  |
| Spl-25 | PV Cable 4.0mm Twin Core | P 1,523,500.00 | 110 rolls |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-26 | HDPE Pipe UV Rated | P 397,500.00 | 53 rolls |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-27 | ACC Cable 80mm Square | P 280,125.00 | 225 meters |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-28 | 100mm THHN Cable | P 2,037,750.00 | 1,235 meters |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-29 | 100 Lugs | P 12,600.00 | 84 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-30 | Main Breaker 600A 3-Branches 200A | P 755,000.00 | 1 set |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-31 | Main Breaker 400A 2-Branches 150A | P 387,000.00 | 1 set |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-32 | RSC Pipe with Entrance Cup 2'' | P 22,000.00 | 4 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-33 | 600A 3 Phase Breaker with Box NEMA 3R | P 485,000.00 | 1 set |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-34 | 400A 3 Phase Breaker with Box NEMA 3R | P 225,000.00 | 1 set |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-35 | C Clamp 3/4'' | P 1,000.00 | 400 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-36 | 30mm Square THHN | P 705,000.00 | 1,000 meters |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |
| Spl-37 | 3 Phase Meter Base for Net Metering | P 90,000.00 | 2 pcs |  |  | Thirty(30) calendar daysupon receipt of Notice to Proceed |

TotalAmountof Bid in Figures : ___________________________________________________________________ Total Amount of Bid in Words : ___________________________________________________________________ _____________________________________________________________________________________________ _____________________________________________________________________________________________

Bid Validity : 			Name and Signature of Bidder: 	______	____

____

Address:					___

___

Telephone/Mobile No.: 				___

Name of Representative:			___

Signature of Representative:			___

Checklist of Technical and Financial Documents

| - TECHNICAL COMPONENT ENVELOPE |  |
| --- | --- |
| Class “A” Documents |  |
| Legal Documents |  |
| ⬜ | - Valid PhilGEPS Registration Certificate (Platinum Membership) (all pages); or |
| ⬜ | - Registration certificate from Securities and Exchange Commission (SEC), Department of Trade and Industry (DTI) for sole proprietorship, or Cooperative Development Authority (CDA) for cooperatives or its equivalent document, and |
| ⬜ | - Mayor’s or Business permit issued by the city or municipality where the principal place of business of the prospective bidder is located, or the equivalent document for Exclusive Economic Zones or Areas; and |
| ⬜ | - Tax clearance per E.O. No. 398, s. 2005, as finally reviewed and approved by the Bureau of Internal Revenue (BIR). |
| Technical Documents |  |
| ⬜ | - Statement of the prospective bidder of all its ongoing government and private contracts, including contracts awarded but not yet started, if any, whether similar or not similar in nature and complexity to the contract to be bid; and |
| ⬜ | - Statement of the bidder’s Single Largest Completed Contract (SLCC) similar to the contract to be bid, except under conditions provided for in Sections 23.4.1.3 and 23.4.2.4 of the 2016 revised IRR of RA No. 9184, within the relevant period as provided in the Bidding Documents; and |
| ⬜ | - Original copy of Bid Security. If in the form of a Surety Bond, submit also a certification issued by the Insurance Commission; or Original copy of Notarized Bid Securing Declaration; and |
| ⬜ | - Conformity with the Technical Specifications, which may include production/delivery schedule, manpower requirements, and/or after-sales/parts, if applicable; and |
| ⬜ | - Original duly signed Omnibus Sworn Statement (OSS); and if applicable, Original Notarized Secretary’s Certificate in case of a corporation, partnership, or cooperative; or Original Special Power of Attorney of all members of the joint venture giving full power and authority to its officer to sign the OSS and do acts to represent the Bidder. |
| Financial Documents |  |
| ⬜ | - The Supplier’s audited financial statements, showing, among others, the Supplier’s total and current assets and liabilities, stamped “received” by the BIR or its duly accredited and authorized institutions, for the preceding calendar year which should not be earlier than two (2) years from the date of bid submission; and |
| ⬜ | - The prospective bidder’s computation of Net Financial Contracting Capacity (NFCC); or A committed Line of Credit from a Universal or Commercial Bank in lieu of its NFCC computation. |
| Class “B” Documents |  |
| ⬜ | - If applicable, a duly signed joint venture agreement (JVA) in case the joint venture is already in existence; or duly notarized statements from all the potential joint venture partners stating that they will enter into and abide by the provisions of the JVA in the instance that the bid is successful. |
| Other documentary requirements under RA No. 9184 (as applicable) |  |
| ⬜ | - [For foreign bidders claiming by reason of their country’s extension of reciprocal rights to Filipinos] Certification from the relevant government office of their country stating that Filipinos are allowed to participate in government procurement activities for the same item or product. |
| ⬜ | - Certification from the DTI if the Bidder claims preference as a Domestic Bidder or Domestic Entity. |

| - FINANCIAL COMPONENT ENVELOPE |  |
| --- | --- |
| ⬜ | - Original of duly signed and accomplished Financial Bid Form; and |
| ⬜ | - Original of duly signed and accomplished Price Schedule(s). |

BID FORM

Date :______________

Project IdentificationNo.:______________

To: [name and address of Procuring Entity]

Having examined the Philippine Bidding Documents (PBDs) including the Supplemental or Bid Bulletin Numbers [insert numbers], the receipt of which is hereby duly acknowledged, we, the undersigned, offer to [supply/deliver/perform] [description of the Goods] in conformity with the said PBD’s for the sum of [total Bid Amount in words and figures] or the total calculated bid price, as evaluated and corrected for computational errors, and other bid modifications in accordance with the price schedules attached herewith and made part of this bid. The total bid price includes the cost of all taxes, such as, but not limited to: [specify the applicable taxes, e.g. (i) value added tax (VAT), (ii) income tax, (iii) local taxes, and (iv) other fiscal levies and duties] which are itemized herein or in the Price Schedules,

If our Bid is accepted, we undertake:

a. to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements of the Philippine Bidding Documents (PBD’s);

b.  to provide a performance security in the form, amount, and  within  the  times prescribed in the PBD’s;

c.  to abide by the Bid Validity Period specified in the PBD’s and it shall remain binding upon us at anytime before the expiration of the period.

[Insert this paragraph if Foreign-Assisted Project with the Development Partner:

Commissions or gratuities, if any, paid or to be paid by us to agents relating to this Bid, and to contract execution if we are awarded the contract, are listed below:

Name and address, amount and Purpose of

Agent Currency Commission or gratuity

_______________________________________________

_______________________________________________

_______________________________________________

[if none, state “None”]

Until a formal Contract is prepared and executed, this Bid, together with your written acceptance thereof and your Notice of Award, shall be binding upon us.

We understand that you are not bound to accept the Lowest Calculated Bid or any Bid you may receive.

We certify/confirm that we comply with the eligibility requirements pursuant to the PBD’s.

The undersigned is authorized to submit the bid on behalf of [name of the bidder] as evidenced by the attached [state the written authority].

We acknowledge that failure to sign each and every page of this Bid Form, including the attached Schedule of Prices, shall be a ground for the rejection of our bid.

Name: _____________________________________________________________________

Legal Capacity:______________________________________________________________

Signature:___________________________________________________________________

Duly authorized to sign the Bid for and Behalf of:____________________________________

Date:_______________________________

Omnibus Sworn Statement (Revised)

[shall be submitted with the Bid]

___________________________________________________________________________

REPUBLIC OF THE PHILIPPINES)

CITY OF __________________) S.S.

AFFIDAVIT

I, [Name of Affiant], of legal age, [Civil Status], [Nationality], and residing at [Address of Affiant], after having been duly sworn in accordance with law, do hereby depose and state that:

1. [Select one, delete the other:][If a sole proprietorship:] I am the sole proprietor or authorized representative of [Name of Bidder] with office address at [address of Bidder];[If a partnership, corporation, cooperative, or joint venture:] I am the duly authorized and designated representative of [Name of Bidder] with office address at [address of Bidder];

2. [Select one, delete the other:] [If a sole proprietorship:] As the owner and sole proprietor, or authorized representative of [Name of Bidder], I have full power and authority to do, execute and perform any and all acts necessary to participate, submit the bid, and to sign and execute the ensuing contract for [Name of the Project] of the [Name of the Procuring Entity], as shown in the attached duly notarized Special Power of Attorney; [If a partnership, corporation, cooperative, or joint venture:] I am granted full power and authority to do, execute and perform any and all acts necessary to participate, submit the bid, and to sign and execute the ensuing contract for [Name of the Project] of the [Name of the Procuring Entity], as shown in the attached [state title of attached document showing proof of authorization (e.g., duly notarized Secretary’s Certificate, Board/Partnership Resolution, or Special Power of Attorney, whichever is applicable;)];

3. [Name of Bidder] is not “blacklisted” or barred from bidding by the Government of the Philippines or any of its agencies, offices, corporations, or Local Government Units, foreign government/foreign or international financing institution whose blacklisting rules have been recognized by the Government Procurement Policy Board, by itself or by relation, membership, association, affiliation, or  controlling interest with another blacklisted person or entity as defined and provided for in the Uniform Guidelines on Blacklisting;

4. Each of the documents submitted in satisfaction of the bidding requirements is an authentic copy of the original, complete, and all statements and information provided therein are true and correct;

5. [Name of Bidder] is authorizing the Head of the Procuring Entity or its duly authorized representative(s) to verify all the documents submitted;

6. [Select one, delete the rest:] [If a sole proprietorship:] The owner or sole proprietor is not related to the Head of the Procuring Entity, members of the Bids and Awards Committee (BAC), the Technical Working Group, and the BAC Secretariat, the head of the Project Management Office or the end-user unit, and the project consultants by consanguinity or affinity up to the third civil degree; [If a partnership or cooperative:] None of the officers and members of [Name of Bidder] is related to the Head of the Procuring Entity, members of the Bids and Awards Committee (BAC), the Technical Working Group, and the BAC Secretariat, the head of the Project Management Office or the end-user unit, and the project consultants by consanguinity or affinity up to the third civil degree; [If a corporation or joint venture:] None of the officers, directors, and controlling stockholders of [Name of Bidder] is related to the Head of the Procuring Entity, members of the Bids and Awards Committee (BAC), the Technical Working Group, and the BAC Secretariat, the head of the Project Management Office or the end-user unit, and the project consultants by consanguinity or affinity up to the third civil degree;

7. [Name of Bidder] complies with existing labor laws and standards; and

8. [Name of Bidder] is aware of and has undertaken the responsibilities as a Bidder in compliance with the Philippine Bidding Documents, which includes:

a.  Carefully examining all of the Bidding Documents;

b. Acknowledging all conditions, local or otherwise, affecting the implementation of the  Contract;

c.  Making an estimate of the facilities available and needed for the contract to be bid, if any;  and

d.  Inquiring or securing Supplemental/Bid Bulletin(s) issued for the [Name of the Project].

9. [Name of Bidder] did not give or pay directly or indirectly, any commission, amount, fee, or any form of consideration, pecuniary or otherwise, to any person or official, personnel or representative of the government in relation to any procurement project or activity.

10. In case advance payment was made or given, failure to perform or deliver any of the obligations and undertakings in the contract shall be sufficient grounds to constitute criminal liability for Swindling (Estafa) or the commission of fraud with unfaithfulness or abuse of confidence through misappropriating or converting any payment received by a person or entity under an obligation involving the duty to deliver certain goods or services, to the prejudice of the public and the government of the Philippines pursuant to Article 315 of Act No. 3815 s. 1930, as amended, or the Revised Penal Code.

IN WITNESS WHEREOF, I have hereunto set my hand/s this ______ day of ____________________ , 2020 at _______________________, Philippines.

[Insert NAME OF BIDDER OR ITS

AUTHORIZED REPRESENTATIVE]

[Insert signatory’s legal capacity]

Affiant

[Jurat]

[Format shall be based on the latest Rules on Notarial Practice)

Bid Securing Declaration Form

[shall be submitted with the Bid if bidder opts to provide this form of bid security]

___________________________________________________________________________

REPUBLIC OF THE PHILIPPINES)

CITY OF __________________) S.S.

BID SECURING DECLARATION

Project Identification No.: [Insert number]

To: [Insert name and address of the Procuring Entity]

I/We, the undersigned, declare that:

1.    I/We understand that, according to your conditions, bids must be supported by a Bid Security, which may be in the form of a Bid Securing Declaration.

2. 	I/We accept that: (a) I/we will be automatically disqualified from bidding for any procurement contract with any procuring entity for a period of two (2) years upon receipt of your Blacklisting Order; and, (b) I/we will pay the applicable fine provided under Section 6 of the Guidelines on the Use of Bid Securing Declaration, within fifteen (15) days from receipt of the written demand by the procuring entity for the commission of acts resulting to the enforcement of the bid securing declaration under Sections 23.1(b), 34.2, 40.1 and 69.1, except 69.1(f),of the IRR of RA No. 9184; without prejudice to other legal action the government may undertake.

3.   I/We understand that this Bid Securing Declaration shall cease to be valid on the following circumstances:

a.   Upon expiration of the bid validity period, or any extension thereof pursuant to your request;

b.   I am/we are declared ineligible or post-disqualified upon receipt of your notice to such effect, and (i) I/we failed to timely file a request for reconsideration or (ii) I/we filed a waiver to avail of said right; and

c.   I am/we are declared the bidder with the Lowest Calculated Responsive Bid, and I/we have furnished the performance security and signed the Contract.

IN WITNESS WHEREOF, I/We have hereunto set my/our hand/s this day of [month] [year] at [place of execution].

[Insert NAME OF BIDDER OR ITS

AUTHORIZED REPRESENTATIVE]

[Insert signatory’s legal capacity]

Affiant

[Jurat]

[Format shall be based on the latest Rules on Notarial Practice)

Department of Public Works and Highways

Statement of Single Largest Completed Contract which are Similar in Nature

Business Name	:   _____________________________

Business Address	: 	_____________________________

| Name of Contract | a. Agency’s Name: b. Address: c. Telephone No. | Type of Product Delivered | No. of Units | Description | a. Amount of Award b. Amount as Completion c. Duration | a. Date Awarded b. Contract Effectivity c. Date Completed |
| --- | --- | --- | --- | --- | --- | --- |
| Government |  |  |  |  |  |  |
| Private |  |  |  |  |  |  |

NOTE:

A.  This statement shall be supported with, End-user’s Acceptance or Official Receipt/s or Sales Invoice issued

for the contract.

B.  The bidders shall fill-up and submit this form for every item to be bid.

Submitted by   	:	__________________________________________

(Printed Name & Signature)

Legal Capacity 	:	__________________________________________

Date               	:	__________________________________________

Department of Public Works and Highways

Statement of all Ongoing Government & Private Contracts including

Business Name  	:   _____________________________

Business Address	: 	  _____________________________

| Name of Contract/Project Cost | a. Owner’s Name: b. Address: c. Telephone No. | Type of Product to be Delivered | No. of Units | Description | a. Amount of Award b. Amount as Completion c. Duration | Delivered Units |  | Value of Outstanding Works/Undelivered Portion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Planned | Actual |  |
| Government |  |  |  |  |  |  |  |  |
| Private |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Total Cost |  |  |

Submitted by   	:	__________________________________________

(Printed Name & Signature)

Legal Capacity 	:	__________________________________________

Date                     	:	__________________________________________

In the case of Framework Agreement, the undertaking shall refer to entering into contract with the Procuring Entity and furnishing of the performance security or the performance securing declaration within ten (10) calendar days from receipt of Notice to Execute Framework Agreement.